## timedata_monthly
hour | pv | demand_elec_res | demand_heat_res | demand_elec_inst | demand_heat_inst
t01 | 923.76 | 1600000 | 6222222.2222 | 4536750 | 2257277.7778 | 3
t02 | 2009.06 | 1600000 | 6222222.2222 | 4536750 | 2257277.7778
t03 | 3777.87 | 1600000 | 6222222.2222 | 4536750 | 2257277.7778
t04 | 4780.33 | 1280000 | 3111111.1111 | 5875725 | 844034.7222
t05 | 5451.4 | 1280000 | 3111111.1111 | 5875725 | 844034.7222
t06 | 5393.4 | 1280000 | 3111111.1111 | 5875725 | 844034.7222
t07 | 5484.54 | 1600000 | 6222222.2222 | 4540425 | 2257277.7778
t08 | 5124.15 | 1600000 | 6222222.2222 | 4540425 | 2257277.7778
t09 | 4084.41 | 1600000 | 6222222.2222 | 4540425 | 2257277.7778
t10 | 2787.84 | 1920000 | 9333333.3333 | 3190425 | 3601965.2778
t11 | 1238.58 | 1920000 | 9333333.3333 | 3190425 | 3601965.2778
t12 | 368.67 | 1920000 | 9333333.3333 | 3190425 | 3601965.2778

## timedata_monthly_night
hour | pv | demand_elec_res | demand_heat_res | demand_elec_inst | demand_heat_inst | demand_elec | demand_heat
t01 | 93299.76 | 960000 | 3111111.1111 | 2722050 | 1128638.8889 | 3682050 | 4239750
t02 | 0 | 640000 | 3111111.1111 | 1814700 | 1128638.8889 | 2454700 | 4239750
t03 | 202915.06 | 960000 | 3111111.1111 | 2722050 | 1128638.8889 | 3682050 | 4239750
t04 | 0 | 640000 | 3111111.1111 | 1814700 | 1128638.8889 | 2454700 | 4239750
t05 | 381564.87 | 960000 | 3111111.1111 | 2722050 | 1128638.8889 | 3682050 | 4239750
t06 | 0 | 640000 | 3111111.1111 | 1814700 | 1128638.8889 | 2454700 | 4239750
t07 | 482813.33 | 768000 | 1555555.5556 | 3525435 | 422017.3611 | 4293435 | 1977572.9167
t08 | 0 | 512000 | 1555555.5556 | 2350290 | 422017.3611 | 2862290 | 1977572.9167
t09 | 550591.4 | 768000 | 1555555.5556 | 3525435 | 422017.3611 | 4293435 | 1977572.9167
t10 | 0 | 512000 | 1555555.5556 | 2350290 | 422017.3611 | 2862290 | 1977572.9167
t11 | 544733.4 | 768000 | 1555555.5556 | 3525435 | 422017.3611 | 4293435 | 1977572.9167
t12 | 0 | 512000 | 1555555.5556 | 2350290 | 422017.3611 | 2862290 | 1977572.9167
t13 | 553938.54 | 960000 | 3111111.1111 | 2724255 | 1128638.8889 | 3684255 | 4239750
t14 | 0 | 640000 | 3111111.1111 | 1816170 | 1128638.8889 | 2456170 | 4239750
t15 | 517539.15 | 960000 | 3111111.1111 | 2724255 | 1128638.8889 | 3684255 | 4239750
t16 | 0 | 640000 | 3111111.1111 | 1816170 | 1128638.8889 | 2456170 | 4239750
t17 | 412525.41 | 960000 | 3111111.1111 | 2724255 | 1128638.8889 | 3684255 | 4239750
t18 | 0 | 640000 | 3111111.1111 | 1816170 | 1128638.8889 | 2456170 | 4239750
t19 | 281571.84 | 1152000 | 4666666.6667 | 1914255 | 1800982.6389 | 3066255 | 6467649.3056
t20 | 0 | 768000 | 4666666.6667 | 1276170 | 1800982.6389 | 2044170 | 6467649.3056
t21 | 125096.58 | 1152000 | 4666666.6667 | 1914255 | 1800982.6389 | 3066255 | 6467649.3056
t22 | 0 | 768000 | 4666666.6667 | 1276170 | 1800982.6389 | 2044170 | 6467649.3056
t23 | 37235.67 | 1152000 | 4666666.6667 | 1914255 | 1800982.6389 | 3066255 | 6467649.3056
t24 | 0 | 768000 | 4666666.6667 | 1276170 | 1800982.6389 | 2044170 | 6467649.3056

## data_prep
Households |  |  | Institutional
Electricity | Spring | 800 | Electricity | Spring | 4536750 | HOUSHOLDS
| Summer | 640 |  | Summer | 5875725 | 2000
| Autumn | 800 |  | Autumn | 4540425
| Winter | 960 |  | Winter | 3190425 | 1063475
| Total | 3200 |  | Total | 18143325
Heat | Spring | 3111.1111 | Heat | Spring | 2257277.7778
| Summer | 1555.5556 |  | Summer | 844034.7222
| Autumn | 3111.1111 |  | Autumn | 2257277.7778
| Winter | 4666.6667 |  | Winter | 3601965.2778 | 1200655.0926
| Total | 12444.4444 |  | Total | 8960555.5556
Schools
Electricity | Spring | 36750
| Summer | 25725
| Autumn | 40425
| Winter | 40425
| Total | 143325
Heat | Spring | 188527.7778
| Summer | 119972.2222
| Autumn | 188527.7778
| Winter | 188527.7778
| Total | 685555.5556
Shopping Centre
Electricity | Spring | 4331250
| Summer | 5630625
| Autumn | 4331250
| Winter | 3031875
| Total | 17325000
Heat | Spring | 1443750
| Summer | 505312.5
| Autumn | 1443750
| Winter | 2382187.5
| Total | 5775000
Hospital
Electricity | Spring | 168750
| Summer | 219375
| Autumn | 168750
| Winter | 118125
| Total | 675000
Heat | Spring | 625000
| Summer | 218750
| Autumn | 625000
| Winter | 1031250
| Total | 2500000

## data_prep_new
| Institution | Households
THERMAL
Jan | 1250083.3333 | 2800000
Feb | 1250083.3333 | 2800000
Mar | 722166.6667 | 1866666.6667
Apr | 722166.6667 | 1866666.6667
May | 722166.6667 | 1866666.6667
Jun | 194250 | 933333.3333
Jul | 194250 | 933333.3333
Aug | 194250 | 933333.3333
Sep | 722166.6667 | 1866666.6667
Oct | 722166.6667 | 1866666.6667
Nov | 722166.6667 | 1866666.6667
Dec | 1250083.3333 | 2800000
| Institution | Households
ELECTRICITY
Jan | 1064875 | 640000
Feb | 1064875 | 640000
Mar | 1515475 | 533333.3333
Apr | 1515475 | 533333.3333
May | 1515475 | 533333.3333
Jun | 1961175 | 426666.6667
Jul | 1961175 | 426666.6667
Aug | 1961175 | 426666.6667
Sep | 1515475 | 533333.3333
Oct | 1515475 | 533333.3333
Nov | 1515475 | 533333.3333
Dec | 1064875 | 640000

## day_night
|  | Institution | Households | Day to night ratio
THERMAL |  |  |  | 0.7
Jan | Day
Night
Feb | Day
Night
Mar | Day
Night
Apr | Day
Night
May | Day
Night
Jun | Day
Night
Jul | Day
Night
Aug | Day
Sep
Oct
Nov
Dez

## pv
Source | Clark And Son Annual Comparison (sunnyportal.com)
Capacity | 48kWp
|  | ASSUMPTION --> | Each cell with households has a pv system of 48 kWp
Month | Total yield expectations (48kWp) | Total yield with 101 systems |  | All cells with potential for PV
Jan | 923.76 | 923.76 |  | 1
Feb | 2009.06 | 2009.06
Mar | 3777.87 | 3777.87
Apr | 4780.33 | 4780.33
May | 5451.4 | 5451.4
Jun | 5393.4 | 5393.4
Jul | 5484.54 | 5484.54
Aug | 5124.15 | 5124.15
Sep | 4084.41 | 4084.41
Oct | 2787.84 | 2787.84
Nov | 1238.58 | 1238.58
Dec | 368.67 | 368.67
Households | # cells | Institutional | # cells
With 20 | 47 | Hospital | 8
With 30 | 30 | Shopping Centre | 8
with 40 | 4 | School | 4
Sum | 81 |  | 20
Rooftop fraction
0.1519
MAX PV area m2 | 123039
C-SI
kW_p | 0.4
Panel Area | 1.8764
Max PV generation | 26228.1768